## Slide 1: Introduction to Electric and Electronics
Chapter 2 –
The Basic Laws of Circuit Analysis

## Slide 2: Learning Objectives
Learning Objectives
To learn three basic laws:
  Ohm’s Law
  Kirchhoff’s Current Law(KCL)
  Kirchhoff’s Voltage Law(KVL)
To understand current division and voltage division
To be able to simplify complicated resistor networks and reduce them to a single resistor
To be able to analyze simple networks containing both independent and dependent sources

## Slide 3: Ohm’s Law
Ohm’s Law
The voltage across a resistance is directly proportional to the current flowing through it.
  Voltage is measured in volts(V).
  Current is measured in amperes(A).
  Resistance is measured in ohms(Ω).

## Slide 4: Ohm’s Law
Ohm’s for
for
for
for

## Slide 5: Ohm’s Law
Resistivity
Materials tend to resist the flow of electricity through them.
This property is called “resistance.”
The resistance of an object is a function of its length, l, and cross sectional area, A, and the material’s resistivity:

## Slide 6: Ohm’s Law
Resistivity of Common Materials

## Slide 7: Ohm’s Law
Resistor Color Codes
To indicate the resistance values a series of colored bands is used.

## Slide 8: Ohm’s Law
Conductance
Is defined as the reciprocal of resistance.
The symbol of G and the units are Siemens [S]. Mho[ ] is used also.

## Slide 9: Examples
Example 2.1
Let us determine current and power
Example 2.2
Let us examine voltage and power
Example 2.3
Let us determine current

## Slide 10: Kirchhoff’s Law
Node, loop, mesh, and branch
A node is the point of connection between two or more elements.
  5 nodes, labeled A through E
A loop is any closed path through the network in which no node is traversed more than once.
  ACEBA and BCDEB are loops and ACDECA is not a loop
A mesh is defined as a loop that does not contain another loop. “Windowpane”
  ACDA and CDEC are meshes and ADECA is not a mesh
A branch is any element connected between two nodes.
  8 branches.

## Slide 11: Kirchhoff’s Law
Kirchhoff’s Laws
Ohm’s law is not sufficient for circuit analysis
Kirchhoff’s laws complete the needed tools
There are two laws:
  Kirchhoff’s Current law (KCL)
  Kirchhoff’s Voltage law (KVL)

## Slide 12: Kirchhoff’s Law
Kirchhoff’s Current Law (KCL)
Kirchhoff’s current law is based on conservation of charge
the algebraic sum of currents entering a node is zero.
the algebraic sum of currents leaving a node is zero.
the currents entering a node must be equal to the currents leaving the node.
It can be expressed as:

## Slide 13: KCL, Example 2.4
Node A
Node B
Node C
Node D
Node E
, , and

## Slide 14: Kirchhoff’s Law
Kirchhoff’s Voltage Law (KVL)
Kirchhoff’s voltage law is based on conservation of energy
It states that the algebraic sum of voltages around any loop is zero.
It can be expressed as:

## Slide 15: KVL, Example 2.5
Example 2.5
From node E, KVL equation is
Determine
,
Determine
,

## Slide 16: KVL, Single Loop Circuit
Single loop circuit
KVL with Ohm’s Law
then or
where and
Current

## Slide 17: Series Resistors
Series Resistors
Resistors in series add, and voltage sources in series add algebraically.
In the circuit shown, applying Ohm’s law to both resistors;
If we apply KVL to the loop we have:
Combining the two equations:
From this we can see there is an equivalent resistance of the two resistors:
For N resistors in series:

## Slide 18: Example 2.6
Example 2.6
Let us determine current, voltage, and the power supplied or absorbed by each element.

## Slide 19: Voltage Division
Voltage Division
The voltage drop across any one resistor can be known.
KVL thus
here and
so and

## Slide 20: Examples
Example 2.7
Let us determine the voltage and .
Example 2.8
Let us determine the voltage .

## Slide 21: KCL, Single Node-Pair Circuit
Single Node-Pair circuit
KCL here
Thus or
here and
and it can be written as ,

## Slide 22: Parallel Resistors
Parallel Resistors
Conductors add in parallel and current source in parallel add algebraically
When resistors are in parallel, the voltage drop across them is the same
By KCL, the current at node a is:
The equivalent resistance is:
For N resistors in parallel:
or

## Slide 23: Example 2.9
Example 2.9
Let us determine current, voltage , the current in each element, and the power supplied and absorbed in the network.

## Slide 24: Current Division
Current Division
Current divides among parallel resistors in a manner similar to the way in which voltage divides among series resistors.
KVL or thus
here and
so that and

## Slide 25: Example 2.10
Example 2.10
Let us calculate the current in the two resistors

## Slide 26: Resistor combinations
Resistor combinations
For N resistors in series
For N resistor in parallel
Example 2.11

## Slide 27: Wye-Delta Transformations
Wye-Delta Transformations
There are cases where resistors are neither parallel nor series
Consider the bridge circuit shown here
This circuit can be simplified to a three-terminal equivalent

## Slide 28: Wye-Delta Transformations
Wye-Delta Transformations II
Two topologies can be interchanged:
  Wye (Y) or tee (T) networks
  Delta (Δ) or pi (Π) networks
Transforming between these two topologies often makes the solution of a circuit easier

## Slide 29: Wye-Delta Transformations
Wye-Delta Transformations III
The superimposed wye and delta circuits shown here will used for reference.
The delta consists of the outer resistors, labeled a, b, and c.
The wye network are the inside resistors, labeled 1, 2, and 3.

## Slide 30: Wye-Delta Transformations
Delta to Wye
The conversion formula for a delta to wye transformation are:

## Slide 31: Wye-Delta Transformations
Wye to Delta
The conversion formula for a wye to delta transformation are:

## Slide 32: Example 2.13
Example 2.13
Let us determine the equivalent resistance at the terminals A-B for the network shown

## Slide 33: Simple Network Analysis
Simple Network Analysis
Example 2.14
  We wish to de determine the voltage and currents that are identified in this circuit

## Slide 34: Example 2.15
Example 2.15
We want to find the value of the current source and the amount of power it supplies to the network.

## Slide 35: Example 2.16
Example 2.16
Let us determine the value of the voltage source and the power absorbed or supplied to the network by this source.

## Slide 36: Circuit with Dependent Sources
Circuit with Dependent Sources
Example 2.17
  We wish to find the output voltage, .

## Slide 37: Example 2.18
Example 2.18
We wish to find the output voltage, and the power absorbed by 2k Ω resistor.

## Slide 38: Homework
Homework
Solve Problems 2.35, 2.40, 2.48, 2.51, 2.55
Read Text Chapter 3.
Prepare Presentation